# Supplementary Material

# for

Analysis of mono-, di-, triacylglycerols, and fatty acids in food emulsifiers by high-performance liquid chromatography–mass spectrometry

European Food Research and Technology

Dinah Schick, Katharina Link, Wolfgang Schwack, Michael Granvogl, and Claudia Oellig*

Department of Food Chemistry and Analytical Chemistry (170a),

Institute of Food Chemistry,

University of Hohenheim,

Garbenstraße 28

D-70599 Stuttgart, Germany

*Corresponding author

E-mail: claudia.oellig@uni-hohenheim.de, phone: +49 711 459 24094, fax: +49 711 459 24096

Supplementary material

Table S1 Respective m/z values of the extracted ions and response factors (RF) used for calculation of the C18:2 representatives of the lipid classes (in case of two extracted m/z, the sum of the peak areas was used for calculations)

Table S2 Respective m/z values of the extracted ions and response factors (RF) used for calculation of the mixed diacylglycerols (DG) that contain C16:0 and C18:0 fatty acids (FA)

Table S3 Mean correlations between determined and target concentrations for the C16:0, C18:0, and C18:1 representatives of the lipid classes at different concentrations (c). Determined in solutions of varying ratios of C16:0 to C18:0 and C16:0 to C18:1 (ratios between 0:100 and 100:0) and concentrations (4 mg/L and 8 mg/L, respectively, for each lipid class), analyzed by HPLC–MS and quantitated with calibrations standards of C16:0 representatives after taking the corresponding response factors (RF) into account

Table S4 Limits of decision and limits of quantitation of the C16:0 representatives determined from calibration standards in the range of 0.5 mg/L to 6.5 mg/L according to DIN 32645 calibration graph method [23] (n = 4)

Table S5 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier I by HPLC–MS

Table S6 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier II by HPLC–MS

Table S7 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier III by HPLC–MS

Table S8 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier IV by HPLC–MS

Table S9 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier V by HPLC–MS

Table S10 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VI by HPLC–MS

Table S11 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VII by HPLC–MS

Table S12 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VIII by HPLC–MS

Table S13 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier IX by HPLC–MS

Table S14 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier X by HPLC–MS

Table S1 Respective m/z values of the extracted ions and response factors (RF) used for calculation of the C18:2 representatives of the lipid classes (in case of two extracted m/z, the sum of the peak areas was used for calculations)

| lipid class | substance | extracted ions | m/z | RFa |
| --- | --- | --- | --- | --- |
| FA | linoleic acid | [M-H]- | 279 | 0.3 |
| 1-MG | 1-monolinolein | [M+HCOO]- | 399 | 0.4 |
| 2-MG | 2-monolinolein | [M+HCOO]- | 399 | 0.3 |
| 1,2-DG | 1,2-dilinolein | [M+Na]+ [M+NH4]+ | 640 635 | 0.9 |
| 1,3-DG | 1,3-dilinolein | [M+H-H2O]+ [M+Na]+ | 600 640 | 0.9 |
| TG | trilinolein | [M+NH4]+ | 897 | 1.3 |

a RF determined for the C18:1 representatives

Table S2 Respective m/z values of the extracted ions and response factors (RF) used for calculation of the mixed diacylglycerols (DG) that contain C16:0 and C18:0 fatty acids (FA)

| lipid class | substance | extracted ions | m/z | RFa |
| --- | --- | --- | --- | --- |
| 1,2-DG | 1-palmitin-2-stearin-DG / 1-stearin-2-palmitin-DG | [M+Na]+ [M+NH4]+ | 620 615 | 1.0 |
| 1,3-DG | 1-palmitin-3-stearin-DG / 1-stearin-3-palmitin-DG | [M+H-H2O]+ [M+Na]+ | 580 620 | 0.9 |

a Mean RF determined for the 1,2-DG and 1,3-DG of mixed DG containing only C16:0 and C18:0, respectively

Table S3 Mean correlations between determined and target concentrations for the C16:0, C18:0, and C18:1 representatives of the lipid classes at different concentrations (c). Determined in solutions of varying ratios of C16:0 to C18:0 and C16:0 to C18:1 (ratios between 0:100 and 100:0) and concentrations (4 mg/L and 8 mg/L, respectively, for each lipid class), analyzed by HPLC–MS and quantitated with calibrations standards of C16:0 representatives after taking the corresponding response factors (RF) into account

|  |  |  | mean correlation [%] ± SDa |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| representative | c [mg/L] | n | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | 8 | 4 | 92±8 | 87±6 | 83±7 | 100±17 | 96±11 | 87±8 |
|  | 6 | 4 | 93±7 | 89±8 | 90±12 | 108±7 | 93±6 | 100±5 |
|  | 4 | 8 | 91±7 | 92±8 | 84±10 | 105±9 | 96±12 | 103±13 |
|  | 3 | 4 | 91±4 | 99±5 | 88±4 | 109±14 | 98±8 | 91±11 |
|  | 2 | 8 | 110±12 | 122±7 | 108±18 | 105±11 | 89±9 | 99±12 |
|  | 1 | 4 | -b | -b | 139±9 | 93±13 | 79±6 | 83±11 |
| C18:0 | 8 | 2 | 111±8 | 95±7 | 115±12 | 84±2 | 84±0 | 122±3 |
|  | 6 | 2 | 111±8 | 101±0 | 104±9 | 100±3 | 87±1 | 155* |
|  | 4 | 4 | 103±9 | 94±6 | 101±10 | 91±10 | 87±4 | 121±10** |
|  | 3 | 2 | 100±1 | 99±1 | 100±5 | 80±6 | 84±4 | 99±5 |
|  | 2 | 4 | 115±12 | 126±5 | 109±4 | 93±11 | 97±14 | 106±19 |
|  | 1 | 2 | 140* | -b | 144±7 | 88±7 | 88±11 | 95±20 |
| C18:1 | 8 | 2 | 82±2 | 71±1 | 100±5 | -c | 77±8 | 89±3 |
|  | 6 | 2 | 88±3 | 75±2 | 100±4 | -c | 81±5 | 111±7 |
|  | 4 | 4 | 95±9 | 84±6 | 94±9 | -c | 85±8 | 109±20 |
|  | 3 | 2 | 98±3 | 93±4 | 92±9 | -c | 90±9 | 107±8 |
|  | 2 | 4 | 133±9 | 132±10 | 124±9 | -c | 89±3 | 99±20 |
|  | 1 | 2 | -b | -b | 161±3 | -c | 93±9 | 69±4 |

*n = 1, **n = 3

a Standard deviation

b Not determined, because concentration was < limit of decision

c No reference substance available

Table S4 Limits of decision and limits of quantitation of the C16:0 representatives determined from calibration standards in the range of 0.5 mg/L to 6.5 mg/L according to DIN 32645 calibration graph method [23] (n = 4)

| lipid class | Substance | limit of decision [mg/L] | limit of quantitation [mg/L] |
| --- | --- | --- | --- |
| FA | palmitic acid | 1.0 | 1.8 |
| 1-MG | 1-monopalmitin | 0.8 | 1.7 |
| 2-MG | 2-monopalmitin | 0.5 | 1.3 |
| 1,2-DG | 1,2-dipalmitin | 0.5 | 1.3 |
| 1,3-DG | 1,3-dipalmitin | 0.3 | 0.8 |
| TG | Tripalmitin | 0.5 | 1.4 |

Table S5 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier I by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 6.9 | nda | nda | nda | nda |
| RSD |  | 5 (n = 6) |  |  |  |  |
| C18:0 | nda | 84.8 | 3.1 | 0.2 | 0.7 | nda |
| RSD |  | 7 (n = 4) | 14 (n = 8) | 4 (n = 2) | 6 (n = 4) |  |
| C18:1 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |

a Not detectable, < limit of decision

Table S6 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier II by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 43.7 | 1.9 | 0.1 | 0.5 | nda |
| RSD |  | 11 (n = 4) | 1 (n = 2) | 3 (n = 4) | 9 (n = 6) |  |
| C18:0 | nda | 38.1 | 1.7 | <LOQb | 0.2 | nda |
| RSD |  | 11 (n = 4) | 3 (n = 2) |  | 8 (n = 6) |  |
| C18:1 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |

a Not detectable, < limit of decision

b Limit of quantitation

Table S7 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier III by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 9.3 | nda | nda | nda | nda |
| RSD |  | 6 (n = 6) |  |  |  |  |
| C18:0 | nda | 12.8 | 1.0 | nda | nda | nda |
| RSD |  | 19 (n = 10) | 2 (n = 2) |  |  |  |
| C18:1 | 2.1 | 64.4 | 2.0 | 0.3 | 0.9 | <LOQb |
| RSD | 0 (n = 2) | 8 (n = 4) | 7 (n = 4) | 7 (n = 2) | 10 (n = 4) |  |
| C18:2 | nda | 3.3 | nda | nda | nda | nda |
| RSD |  | 0 (n = 2) |  |  |  |  |

a Not detectable, < limit of decision

b Limit of quantitation

Table S8 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier IV by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 10.6 | nda | nda | nda | nda |
| RSD |  | 10 (n = 12) |  |  |  |  |
| C18:0 | nda | 6.4 | nda | nda | nda | nda |
| RSD |  | 12 (n = 9) |  |  |  |  |
| C18:1 | nda | 29.8 | 2.9 | 0.1 | 0.2 | nda |
| RSD |  | 10 (n = 8) | 14 (n = 10) | 2 (n = 2) | 5 (n = 2) |  |
| C18:2 | nda | 44.3 | 3.1 | 0.5 | 0.4 | nda |
| RSD |  | 2 (n = 2) | 18 (n = 12) | 0 (n = 2) | 1 (n = 2) |  |

a Not detectable, < limit of decision

Table S9 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier V by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 7.0 | nda | nda | nda | nda |
| RSD |  | 11 (n = 6) |  |  |  |  |
| C18:0 | nda | 3.5 | nda | nda | nda | nda |
| RSD |  | 3 (n = 2) |  |  |  |  |
| C18:1 | nda | 73.7 | 3.5 | 0.8 | 1.0 | nda |
| RSD |  | 6 (n = 6) | 10 (n = 6) | 17 (n = 4) | 15 (n = 6) |  |
| C18:2 | nda | 8.1 | 1.3 | nda | nda | nda |
| RSD |  | 13 (n = 6) | 1 (n = 2) |  |  |  |

a Not detectable, < limit of decision

Table S10 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VI by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 38.6 | nda | nda | 0.4 | nda |
| RSD |  | 17 (n = 6) |  |  | 0 (n = 2) |  |
| C18:0 | nda | 54.8 | nda | <LOQb | 0.6 | <LOQb |
| RSD |  | 13 (n = 6) |  |  | 12 (n = 4) |  |
| C18:1 | nda | nda | nda | <LOQb | <LOQb | nda |
| RSD |  |  |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |

a Not detectable, < limit of decision

b Limit of quantitation

Table S11 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VII by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 4.6 | nda | nda | nda | nda |
| RSD |  | 7 (n = 8) |  |  |  |  |
| C18:0 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C18:1 | nda | 31.6 | 2.6 | 10.8 | 13.8 | 2.7 |
| RSD |  | 19 (n = 8) | 7 (n = 8) | 12 (n = 14) | 12 (n = 14) | 18 (n = 8) |
| C18:2 | nda | 5.0 | 1.3 | <LOQb | nda | nda |
| RSD |  | 7 (n = 8) | 1 (n = 2) |  |  |  |
| C16:0 and C18:0 in DG | -c | -c | -c | nda | nda | -c |
| RSD |  |  |  |  |  |  |

a Not detectable, < limit of decision

b Limit of quantitation

c Only relevant for DG

Table S12 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier VIII by HPLC–MS

| Representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | 3.6 | 11.5 | 3.1 | 2.0 | 5.3 | 0.8 |
| RSD | 4 (n = 4) | 4 (n = 4) | 2 (n = 2) | 16 (n = 10) | 9 (n = 6) | 6 (n = 4) |
| C18:0 | 3.6 | 13.9 | 2.1 | 3.1 | 5.9 | 1.3 |
| RSD | 2 (n = 4) | 2 (n = 2) | 3 (n = 2) | 17 (n = 10) | 15 (n = 7) | 12 (n = 4) |
| C18:1 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C16:0 and C18:0 in DG | -b | -b | -b | 4.7 | 10.2 | -b |
| RSD |  |  |  | 1 (n = 2) | 3 (n = 2) |  |

a Not detectable, < limit of decision

b Only relevant for DG

Table S13 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier IX by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 23.7 | nda | <LOQb | 6.1 | 0.3 |
| RSD |  | 11 (n = 8) |  |  | 7 (n = 10) | 13 (n = 2) |
| C18:0 | 1.9 | 28.3 | 0.8 | <LOQb | 6.1 | 0.2 |
| RSD | 1 (n = 2) | 5 (n = 4) | 1 (n = 2) |  | 8 (n = 10) | 14 (n = 2) |
| C18:1 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C16:0 and C18:0 in DG | -c | -c | -c | <LOQb | 9.8 | -c |
| RSD |  |  |  |  | 6 (n = 4) |  |

a Not detectable, < limit of decision

b Limit of quantitation

c Only relevant for DG

Table S14 Determined contents [%] including relative standard deviations (RSD [%]) of fatty acids (FA), 1- and 2-monoacylglycerols (1- and 2-MG), 1,2- and 1,3-diacylglycerols (1,2- and 1,3-DG), and triacylglycerols (TG) in emulsifier X by HPLC–MS

| representative | lipid class |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | FA | 1-MG | 2-MG | 1,2-DG | 1,3-DG | TG |
| C16:0 | nda | 25.5 | 2.1 | 0.3 | 6.1 | 0.2 |
| RSD |  | 5 (n = 4) | 0 (n = 2) | 9 (n = 4) | 10 (n = 6) | 19 (n = 4) |
| C18:0 | 2.4 | 32.0 | 2.0 | 0.4 | 6.7 | 0.2 |
| RSD | 5 (n = 2) | 1 (n = 2) | 3 (n = 2) | 5 (n = 4) | 7 (n = 6) | 18 (n = 4) |
| C18:1 | nda | 2.8 | nda | nda | nda | nda |
| RSD |  | 5 (n = 4) |  |  |  |  |
| C18:2 | nda | nda | nda | nda | nda | nda |
| RSD |  |  |  |  |  |  |
| C16:0 and C18:0 in DG | -b | -b | -b | 0.5 | 9.9 | -b |
| RSD |  |  |  | 0 (n = 2) | 2 (n = 2) |  |

a Not detectable, < limit of decision

b Only relevant for DG