## Information
Article title: | Improved Prediction of Wheat Quality and Functionality using Near-Infrared Spectroscopy and Novel Approaches involving Flour Fractionation and Data Fusion
Journal name: | Food Analytical Methods
Author names: | Denise Ziegler, Lukas Buck, Katharina Anne Scherf, Lutz Popper, Alexander Schaum, Bernd Hitzmann
Affilation (corresponding author): | Department of Process Analytics, Institute of Food Science and Biotechnology, University of Hohenheim, Stuttgart, Germany
E-Mail (corresponding author): | denise.ziegler@uni-hohenheim.de

## UHPLC Conditions
Osborne Fractionation | [10 empty] | SDSS-GMP Fractionation
UHPLC System | LC-40D XS Shimadzu | [9 empty] | UHPLC System | LC-40D XS Shimadzu
Column | YMC-Triart Bio C18; 3 µm, 150 x 2.1 mm (Pre-Column: Phenomenex Widepore C18 4 x 2.9 mmm ID) | [9 empty] | Column | Waters BioResolve SEC mAb, 2.5µm 4.6 x 150 mm
Column Temp. | 60 °C | [9 empty] | Column Temp. | 30 °C
Flowrate | 0.6 mL/min | [9 empty] | Flowrate | 0.3 mL/min
Solvents | A: 0.1 % TFA in H2O | [9 empty] | Solvents | A: 0.1 % TFA in H2O
| B: 0.1 % TFA in Acetonitrile | [10 empty] | B: 0.1 % TFA in Acetonitrile
Detector | UV-Absorption at λ = 210 nm | [9 empty] | Detector | UV-Absorption at λ = 210 nm
Gradient | ALGL |  |  |  | GLI, PWG |  |  | GLUT |  |  | Gradient | 50 % A; 50 % B; isocratic
| time [min] |  | A [%] | B [%] | time [min] | A [%] | B [%] | time [min] | A [%] | B [%] | Injection volume | SDSL: 5-10 µl
| 0 | 100 |  | 0 | 0 | 95 | 5 | 0 | 95 | 5 |  | GMP: 10-30 µl
| 0.4 | 100 |  | 0 | 0.4 | 95 | 5 | 0.2 | 95 | 5 |  | PWG: 5 µl; 10 µl; 15 µl; 20 µl
| 0.5 | 80 |  | 20 | 0.5 | 70 | 30 | 4.2 | 77.5 | 22.5
| 8 | 40 |  | 60 | 13 | 40 | 60 | 5.2 | 70 | 30 | Abbreviations
| 8.1 | 0 |  | 100 | 13.1 | 0 | 100 | 11.2 | 40 | 60 | SDSL | sodium dodecyl sulfate soluble proteins
| 15 | 0 |  | 100 | 19.1 | 0 | 100 | 11.3 | 0 | 100 | GMP | glutenin macropolymer
| 15.1 | 100 |  | 0 | 19.2 | 95 | 5 | 15.5 | 0 | 100 | PWG | Prolamin Working Group Gliadin (standard substance for quantification)
| 26 | Stop |  |  | 27 | Stop |  | 16.5 | 95 | 5
[8 empty] | 27 | Stop
Injection volume | ALGL: 20 µl
GLI: 10 µl
GLUT: 15 µl
PWG: 5 µl, 10 µl, 15 µl, 20 µl
Abbreviations
ALGL | albumins/globulins
GLI | gliadins
GLUT | glutenins
PWG | Prolamin Working Group Gliadin (standard substance for quantification)

## Results Individual Spectra 1
Parameter | Flour |  | < 32 μm |  |  | 32-50 μm |  |  | 50-75 μm |  |  | 75-100 μm |  |  | > 100 μm
| R2CV [-] | RMSECV | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%]
Protein [%] | 0.96 | 0.3 | 0.87 | 0.6 | -100 | 0.94 | 0.4 | -33.3 | 0.94 | 0.4 | -33.3 | 0.95 | 0.4 | -33.3 | 0.94 | 0.4 | -33.3
Wet gluten [%] | 0.93 | 1.2 | 0.77 | 2 | -66.7 | 0.87 | 1.5 | -25 | 0.94 | 1 | 16.7 | 0.93 | 1.1 | 8.3 | 0.91 | 1.3 | -8.3
Gluten Index [-] | 0.03 | 7 | -0.05 | 8 | -14.3 | -0.03 | 8 | -14.3 | -0.01 | 8 | -14.3 | 0.41 | 6 | 14.3 | 0.1 | 7 | 0
Osborne Total [g/100 g] | 0.86 | 0.6 | 0.83 | 0.68 | -13.3 | 0.87 | 0.6 | 0 | 0.88 | 0.57 | 5 | 0.89 | 0.53 | 11.7 | 0.89 | 0.54 | 10
Albumin & Globulin [mg/g] | 0.2 | 1.88 | 0.31 | 1.74 | 7.4 | 0.32 | 1.73 | 8 | 0.43 | 1.59 | 15.4 | 0.39 | 1.64 | 12.8 | 0.41 | 1.61 | 14.4
Gliadin [mg/g] | 0.9 | 3.41 | 0.82 | 4.62 | -35.5 | 0.9 | 3.45 | -1.2 | 0.92 | 3.07 | 10 | 0.92 | 3.04 | 10.9 | 0.93 | 2.92 | 14.4
Glutenin [mg/g] | 0.79 | 2.03 | 0.67 | 2.55 | -25.6 | 0.73 | 2.31 | -13.8 | 0.75 | 2.21 | -8.9 | 0.79 | 2.02 | 0.5 | 0.75 | 2.19 | -7.9
Gliadin/Glutenin [-] | 0.47 | 0.14 | 0.19 | 0.17 | -21.4 | 0.15 | 0.17 | -21.4 | 0.21 | 0.17 | -21.4 | 0.25 | 0.16 | -14.3 | 0.18 | 0.17 | -21.4
SDS/GMP Total [g/100 g] | 0.94 | 0.37 | 0.81 | 0.67 | -81.1 | 0.89 | 0.5 | -35.1 | 0.94 | 0.37 | 0 | 0.95 | 0.33 | 10.8 | 0.92 | 0.43 | -16.2
SDS [mg/g] | 0.85 | 4.32 | 0.74 | 5.63 | -30.3 | 0.84 | 4.37 | -1.2 | 0.88 | 3.87 | 10.4 | 0.88 | 3.84 | 11.1 | 0.86 | 4.07 | 5.8
GMP [mg/g] | 0.72 | 3 | 0.7 | 3.09 | -3 | 0.77 | 2.71 | 9.7 | 0.75 | 2.8 | 6.7 | 0.7 | 3.07 | -2.3 | 0.72 | 2.98 | 0.7
GMP-HMW [mg/g] | 0.69 | 0.92 | 0.55 | 1.11 | -20.7 | 0.68 | 0.94 | -2.2 | 0.72 | 0.88 | 4.3 | 0.63 | 1 | -8.7 | 0.7 | 0.9 | 2.2
GMP-LMW [mg/g] | 0.72 | 2.2 | 0.73 | 2.16 | 1.8 | 0.78 | 1.95 | 11.4 | 0.75 | 2.09 | 5 | 0.7 | 2.26 | -2.7 | 0.72 | 2.18 | 0.9
Falling Number [s] | 0.72 | 44 | 0.64 | 49 | -11.4 | 0.58 | 53 | -20.5 | 0.51 | 58 | -31.8 | 0.53 | 56 | -27.3 | 0.58 | 53 | -20.5
Starch damage [Ai %] | 0.87 | 0.18 | 0.69 | 0.28 | -55.6 | 0.73 | 0.26 | -44.4 | 0.81 | 0.22 | -22.2 | 0.73 | 0.26 | -44.4 | 0.77 | 0.24 | -33.3
SRC Water [%] | 0.66 | 2 | 0.76 | 1.7 | 15 | 0.71 | 1.8 | 10 | 0.65 | 2 | 0 | 0.56 | 2.2 | -10 | 0.59 | 2.2 | -10
SRC Sucrose [%] | 0.73 | 2.7 | 0.67 | 3 | -11.1 | 0.58 | 3.4 | -25.9 | 0.77 | 2.5 | 7.4 | 0.65 | 3.1 | -14.8 | 0.65 | 3.1 | -14.8
SRC Lactic acid [%] | 0.67 | 7.9 | 0.62 | 8.5 | -7.6 | 0.62 | 8.4 | -6.3 | 0.45 | 10.1 | -27.8 | 0.36 | 10.9 | -38 | 0.49 | 9.8 | -24.1
SRC Sodium carbonate [%] | 0.61 | 3.9 | 0.63 | 3.8 | 2.6 | 0.6 | 4 | -2.6 | 0.68 | 3.6 | 7.7 | 0.52 | 4.3 | -10.3 | 0.58 | 4.1 | -5.1
FA DDT [min] | 0.8 | 0.91 | 0.62 | 1.26 | -38.5 | 0.56 | 1.34 | -47.3 | 0.64 | 1.22 | -34.1 | 0.71 | 1.09 | -19.8 | 0.71 | 1.09 | -19.8
FA WAM [%] | 0.79 | 1.2 | 0.75 | 1.3 | -8.3 | 0.74 | 1.4 | -16.7 | 0.83 | 1.1 | 8.3 | 0.77 | 1.3 | -8.3 | 0.81 | 1.2 | 0
FA S [min] | 0.59 | 3.45 | 0.59 | 3.45 | 0 | 0.52 | 3.74 | -8.4 | 0.58 | 3.51 | -1.7 | 0.62 | 3.35 | 2.9 | 0.65 | 3.19 | 7.5
FA DS [FE] | 0.77 | 14 | 0.78 | 13 | 7.1 | 0.7 | 16 | -14.3 | 0.79 | 13 | 7.1 | 0.71 | 15 | -7.1 | 0.73 | 15 | -7.1
FA FQN [-] | 0.53 | 43 | 0.52 | 44 | -2.3 | 0.43 | 47 | -9.3 | 0.49 | 45 | -4.7 | 0.54 | 43 | 0 | 0.58 | 41 | 4.7
EX Energy 45 min [cm²] | 0.67 | 15 | 0.64 | 15 | 0 | 0.71 | 14 | 6.7 | 0.68 | 14 | 6.7 | 0.7 | 14 | 6.7 | 0.68 | 14 | 6.7
EX Resistance 45 min [BU] | 0.05 | 43 | -0.06 | 45 | -4.7 | 0.06 | 42 | 2.3 | 0.15 | 40 | 7 | -0.05 | 45 | -4.7 | 0.04 | 43 | 0
EX Extensibility 45 min [mm] | 0.75 | 12 | 0.67 | 14 | -16.7 | 0.74 | 13 | -8.3 | 0.74 | 13 | -8.3 | 0.75 | 12 | 0 | 0.76 | 12 | 0
EX Maximum 45 min [BU] | 0.35 | 58 | 0.21 | 64 | -10.3 | 0.37 | 57 | 1.7 | 0.41 | 55 | 5.2 | 0.23 | 63 | -8.6 | 0.28 | 61 | -5.2
EX Ratio number 45 min [-] | 0.29 | 0.4 | 0.22 | 0.4 | 0 | 0.3 | 0.4 | 0 | 0.37 | 0.4 | 0 | 0.24 | 0.4 | 0 | 0.39 | 0.4 | 0
EX Ratio number (Max.) 45 min [-] | 0.07 | 0.5 | -0.04 | 0.5 | 0 | 0.12 | 0.5 | 0 | 0.21 | 0.5 | 0 | -0.06 | 0.5 | 0 | 0.09 | 0.5 | 0
AL Cmax [-] | 0.81 | 190 | 0.8 | 197 | -3.7 | 0.81 | 192 | -1.1 | 0.82 | 187 | 1.6 | 0.81 | 190 | 0 | 0.81 | 192 | -1.1
AL P [mm H2O] | 0.68 | 10 | 0.73 | 9 | 10 | 0.7 | 10 | 0 | 0.69 | 10 | 0 | 0.77 | 9 | 10 | 0.62 | 11 | -10
AL L [mm] | 0.45 | 17 | 0.54 | 16 | 5.9 | 0.46 | 17 | 0 | 0.52 | 16 | 5.9 | 0.57 | 15 | 11.8 | 0.42 | 18 | -5.9
AL G [-] | 0.44 | 2 | 0.53 | 1.9 | 5 | 0.44 | 2 | 0 | 0.51 | 1.9 | 5 | 0.53 | 1.9 | 5 | 0.4 | 2.1 | -5
AL W [10E-4 J] | 0.87 | 30 | 0.81 | 36 | -20 | 0.82 | 35 | -16.7 | 0.86 | 31 | -3.3 | 0.86 | 32 | -6.7 | 0.84 | 33 | -10
AL P/L [-] | 0.28 | 0.38 | 0.37 | 0.35 | 7.9 | 0.32 | 0.36 | 5.3 | 0.46 | 0.33 | 13.2 | 0.45 | 0.33 | 13.2 | 0.24 | 0.39 | -2.6
AL Ie [%] | 0.75 | 2.9 | 0.67 | 3.3 | -13.8 | 0.79 | 2.6 | 10.3 | 0.74 | 3 | -3.4 | 0.82 | 2.5 | 13.8 | 0.73 | 3 | -3.4
AL K [-] | 0.78 | 350 | 0.77 | 355 | -1.4 | 0.75 | 368 | -5.1 | 0.83 | 309 | 11.7 | 0.81 | 326 | 6.9 | 0.74 | 375 | -7.1
AL SH [-] | 0.44 | 0.07 | 0.42 | 0.08 | -14.3 | 0.53 | 0.07 | 0 | 0.46 | 0.07 | 0 | 0.67 | 0.06 | 14.3 | 0.45 | 0.07 | 0
AL Dmin [-] | 0.71 | 0.26 | 0.62 | 0.3 | -15.4 | 0.7 | 0.27 | -3.8 | 0.76 | 0.24 | 7.7 | 0.79 | 0.23 | 11.5 | 0.68 | 0.28 | -7.7
AL Dmax [-] | 0.68 | 0.39 | 0.74 | 0.35 | 10.3 | 0.73 | 0.36 | 7.7 | 0.75 | 0.35 | 10.3 | 0.79 | 0.32 | 17.9 | 0.67 | 0.4 | -2.6

## Results Individual Spectra 2
Parameter | Flour |  | Dough |  |  | Gluten |  |  | Starch
| R2CV [-] | RMSECV | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%] | R2CV [-] | RMSECV | I (compared to flour) [%]
Protein [%] | 0.96 | 0.3 | 0.96 | 0.4 | -33.3 | 0.65 | 1 | -233.3 | 0.68 | 0.9 | -200
Wet gluten [%] | 0.93 | 1.2 | 0.92 | 1.2 | 0 | 0.74 | 2.2 | -83.3 | 0.69 | 2.3 | -91.7
Gluten Index [-] | 0.03 | 7 | 0.02 | 7 | 0 | 0.33 | 6 | 14.3 | -0.03 | 8 | -14.3
Osborne Total [g/100 g] | 0.86 | 0.6 | 0.88 | 0.57 | 5 | 0.63 | 0.98 | -63.3 | 0.74 | 0.82 | -36.7
Albumin & Globulin [mg/g] | 0.2 | 1.88 | 0.35 | 1.7 | 9.6 | 0.18 | 1.91 | -1.6 | 0.22 | 1.85 | 1.6
Gliadin [mg/g] | 0.9 | 3.41 | 0.9 | 3.44 | -0.9 | 0.65 | 6.46 | -89.4 | 0.73 | 5.64 | -65.4
Glutenin [mg/g] | 0.79 | 2.03 | 0.73 | 2.28 | -12.3 | 0.66 | 2.56 | -26.1 | 0.62 | 2.73 | -34.5
Gliadin/Glutenin [-] | 0.47 | 0.14 | 0.15 | 0.17 | -21.4 | 0.06 | 0.18 | -28.6 | 0.03 | 0.19 | -35.7
SDS/GMP Total [g/100 g] | 0.94 | 0.37 | 0.94 | 0.39 | -5.4 | 0.69 | 0.85 | -129.7 | 0.55 | 1.03 | -178.4
SDS [mg/g] | 0.85 | 4.32 | 0.91 | 3.24 | 25 | 0.64 | 6.64 | -53.7 | 0.51 | 7.74 | -79.2
GMP [mg/g] | 0.72 | 3 | 0.8 | 2.52 | 16 | 0.63 | 3.46 | -15.3 | 0.46 | 4.15 | -38.3
GMP-HMW [mg/g] | 0.69 | 0.92 | 0.71 | 0.88 | 4.3 | 0.58 | 1.07 | -16.3 | 0.46 | 1.21 | -31.5
GMP-LMW [mg/g] | 0.72 | 2.2 | 0.8 | 1.85 | 15.9 | 0.61 | 2.57 | -16.8 | 0.48 | 3 | -36.4
Falling Number [s] | 0.72 | 44 | 0.49 | 59 | -34.1 | 0.49 | 58 | -31.8 | 0.43 | 61 | -38.6
Starch damage [Ai %] | 0.87 | 0.18 | 0.74 | 0.25 | -38.9 | 0.27 | 0.42 | -133.3 | 0.63 | 0.31 | -72.2
SRC Water [%] | 0.66 | 2 | 0.49 | 2.4 | -20 | 0.31 | 2.8 | -40 | 0.6 | 2.1 | -5
SRC Sucrose [%] | 0.73 | 2.7 | 0.65 | 3.1 | -14.8 | 0.25 | 4.5 | -66.7 | 0.35 | 4.2 | -55.6
SRC Lactic acid [%] | 0.67 | 7.9 | 0.41 | 10.5 | -32.9 | 0.24 | 11.9 | -50.6 | 0.09 | 13.1 | -65.8
SRC Sodium carbonate [%] | 0.61 | 3.9 | 0.47 | 4.6 | -17.9 | 0.29 | 5.3 | -35.9 | 0.48 | 4.5 | -15.4
FA DDT [min] | 0.8 | 0.91 | 0.77 | 0.98 | -7.7 | 0.75 | 1.02 | -12.1 | 0.51 | 1.42 | -56
FA WAM [%] | 0.79 | 1.2 | 0.66 | 1.6 | -33.3 | 0.58 | 1.7 | -41.7 | 0.58 | 1.7 | -41.7
FA S [min] | 0.59 | 3.45 | 0.67 | 3.08 | 10.7 | 0.55 | 3.61 | -4.6 | 0.45 | 4.03 | -16.8
FA DS [FE] | 0.77 | 14 | 0.81 | 12 | 14.3 | 0.68 | 16 | -14.3 | 0.5 | 20 | -42.9
FA FQN [-] | 0.53 | 43 | 0.61 | 39 | 9.3 | 0.53 | 43 | 0 | 0.42 | 48 | -11.6
EX Energy 45 min [cm²] | 0.67 | 15 | 0.67 | 15 | 0 | 0.55 | 17 | -13.3 | 0.36 | 20 | -33.3
EX Resistance 45 min [BU] | 0.05 | 43 | 0.05 | 43 | 0 | 0.26 | 38 | 11.6 | -0.08 | 45 | -4.7
EX Extensibility 45 min [mm] | 0.75 | 12 | 0.75 | 13 | -8.3 | 0.42 | 19 | -58.3 | 0.48 | 18 | -50
EX Maximum 45 min [BU] | 0.35 | 58 | 0.3 | 60 | -3.4 | 0.48 | 52 | 10.3 | 0.06 | 70 | -20.7
EX Ratio number 45 min [-] | 0.29 | 0.4 | 0.36 | 0.4 | 0 | 0.08 | 0.5 | -25 | 0.04 | 0.5 | -25
EX Ratio number (Max.) 45 min [-] | 0.07 | 0.5 | 0.15 | 0.5 | 0 | 0.22 | 0.5 | 0 | -0.06 | 0.5 | 0
AL Cmax [-] | 0.81 | 190 | 0.8 | 197 | -3.7 | 0.58 | 286 | -50.5 | 0.75 | 222 | -16.8
AL P [mm H2O] | 0.68 | 10 | 0.6 | 11 | -10 | 0.43 | 13 | -30 | 0.57 | 12 | -20
AL L [mm] | 0.45 | 17 | 0.5 | 16 | 5.9 | 0.22 | 20 | -17.6 | 0.35 | 19 | -11.8
AL G [-] | 0.44 | 2 | 0.45 | 2 | 0 | 0.21 | 2.4 | -20 | 0.33 | 2.2 | -10
AL W [10E-4 J] | 0.87 | 30 | 0.91 | 24 | 20 | 0.61 | 51 | -70 | 0.66 | 48 | -60
AL P/L [-] | 0.28 | 0.38 | 0.18 | 0.4 | -5.3 | 0.1 | 0.42 | -10.5 | 0.26 | 0.38 | 0
AL Ie [%] | 0.75 | 2.9 | 0.77 | 2.8 | 3.4 | 0.62 | 3.5 | -20.7 | 0.51 | 4 | -37.9
AL K [-] | 0.78 | 350 | 0.69 | 413 | -18 | 0.47 | 536 | -53.1 | 0.61 | 461 | -31.7
AL SH [-] | 0.44 | 0.07 | 0.59 | 0.06 | 14.3 | 0.7 | 0.06 | 14.3 | 0.42 | 0.08 | -14.3
AL Dmin [-] | 0.71 | 0.26 | 0.52 | 0.34 | -30.8 | 0.21 | 0.43 | -65.4 | 0.45 | 0.36 | -38.5
AL Dmax [-] | 0.68 | 0.39 | 0.6 | 0.44 | -12.8 | 0.44 | 0.52 | -33.3 | 0.63 | 0.43 | -10.3

## Best results
Parameter | Best prediction from flour spectra |  |  |  | Improved prediction using spectra of flour fractions and dough (individual spectra or combinations)
| Preprocessing | R2CV [-] | RMSECV | NRMSECVrange [ %] | Spectrum [-] | Preprocessing | R2CV [-] | RMSECV | NRMSECVrange [ %] | I (compared to flour spectra) [%]
Protein [%] | smooth + 1. deriv + SNV - PCR (10) | 0.96 | 0.3 | 4.12
Wet gluten [%] | smooth + 1. deriv + normalization (1. norm) + autoscaling - PLSR (8) | 0.93 | 1.2 | 6.46 | < 32 μm + 50-75 μm | smooth + highpass + normalization (range) - PLSR (7) | 0.95 | 0.9 | 4.84 | 25
Gluten Index [-] | smooth + 1. deriv + SNV - PLSR (10) | 0.03 | 7 | 17.08 | 75-100 μm | smooth + highpass + normalization (1. norm) + autoscaling - PLSR (10) | 0.41 | 6 | 14.64 | 14.2857
Osborne Total [g/100 g] | smooth + 1. deriv + SNV - PCR (10) | 0.86 | 0.6 | 8.37 | 32-50 μm + 50-75 μm | smooth + 1. deriv + SNV + autoscaling - PLSR (10) | 0.92 | 0.47 | 6.56 | 21.6667
Albumin & Globulin [mg/g] | smooth + detrend (2. order) + normalization (1. norm) + autoscaling - PLSR (9) | 0.2 | 1.88 | 19.19 | 50-75 μm | smooth + highpass + SNV - PLSR (10) | 0.43 | 1.59 | 16.23 | 15.4255
Gliadin [mg/g] | smooth + 1. deriv + SNV - PCR (9) | 0.9 | 3.41 | 6.67 | < 32 μm + 50-75 μm | smooth + 1. deriv + SNV - PLSR (10) | 0.94 | 2.58 | 5.05 | 24.3402
[5 empty] | 32-50 μm + 50-75 μm | smooth + 1. deriv + SNV - PLSR (10) | 0.94 | 2.58 | 5.05 | 24.3402
Glutenin [mg/g] | smooth + 2. deriv + normalization (range) - PCR (5) | 0.79 | 2.03 | 10.98 | Gluten + Flour | smooth + 2. deriv + SNV - PLSR (3) | 0.83 | 1.82 | 9.85 | 10.3448
Gliadin/Glutenin [-] | smooth + 2. deriv + normalization (range) - PLSR (7) | 0.47 | 0.14 | 14.44
SDS/GMP Total [g/100 g] | smooth + 1. deriv + normalization (2. norm) - PLSR (7) | 0.94 | 0.37 | 5.33 | < 32 μm + 32-50 μm + 50-75 μm | smooth + 1. deriv + SNV - PLSR (9) | 0.97 | 0.27 | 3.89 | 27.027
SDS [mg/g] | smooth + 1. deriv + normalization (range) + autoscaling - PCR (10) | 0.85 | 4.32 | 8.5 | Dough | smooth + 1. deriv + SNV - PLSR (10) | 0.91 | 3.24 | 6.37 | 25
GMP [mg/g] | smooth + normalization (2. norm) + autoscaling - PCR (8) | 0.72 | 3 | 11.78 | Dough | smooth + 2. deriv + SNV - PLSR (9) | 0.8 | 2.52 | 9.89 | 16
GMP-HMW [mg/g] | smooth + normalization (1. norm) + autoscaling - PLSR (6) | 0.69 | 0.92 | 13.5
GMP-LMW [mg/g] | smooth + normalization (2. norm) + autoscaling - PLSR (6) | 0.72 | 2.2 | 11.56 | Dough | smooth + 2. deriv + SNV - PLSR (9) | 0.8 | 1.85 | 9.72 | 15.9091
Falling Number [s] | smooth + normalization (1. norm) + autoscaling - PLSR (10) | 0.72 | 44 | 11.83
Starch damage [Ai %] | smooth + highpass + normalization (range) - PLSR (8) | 0.87 | 0.18 | 8.04 | < 32 μm + 50-75 μm + Flour | smooth + 1. deriv + SNV - PLSR (9) | 0.88 | 0.17 | 7.59 | 5.5556
SRC Water [%] | smooth + detrend (2. order) + normalization (range) - PCR (7) | 0.66 | 2 | 11.84 | < 32 μm | smooth + highpass + SNV + autoscaling - PCR (8) | 0.76 | 1.7 | 10.06 | 15
SRC Sucrose [%] | smooth + normalization (1. norm) - PLSR (10) | 0.73 | 2.7 | 10.8 | 50-75 μm | smooth + 1. deriv + SNV - PLSR (6) | 0.77 | 2.5 | 10 | 7.4074
[5 empty] | Flour + Starch | smooth + highpass - PCR (10) | 0.77 | 2.5 | 10 | 7.4074
SRC Lactic acid [%] | smooth + normalization (2. norm) + autoscaling - PLSR (10) | 0.67 | 7.9 | 13.3
SRC Sodium carbonate [%] | smooth + 1. deriv + normalization (1. norm) - PLSR (10) | 0.61 | 3.9 | 13.55 | < 32 μm + 50-75 μm | smooth + highpass + SNV + autoscaling - PLSR (10) | 0.71 | 3.4 | 11.81 | 12.8205
FA DDT [min] | smooth + normalization (2. norm) + autoscaling - PLSR (9) | 0.8 | 0.91 | 12.7 | Gluten + Flour | smooth + detrend (2. order) + SNV + autoscaling - PLSR (10) | 0.87 | 0.73 | 10.19 | 19.7802
FA WAM [%] | smooth + SNV + autoscaling - PLSR (10) | 0.79 | 1.2 | 10.91 | 50-75 μm + Flour | smooth + highpass + normalization (range) - PLSR (10) | 0.87 | 1 | 9.1 | 16.6667
FA S [min] | smooth + highpass + normalization (1. norm) - PCR (9) | 0.59 | 3.45 | 14.86 | Gluten + Dough | smooth + normalization (range) + autoscaling - PLSR (7) | 0.72 | 2.84 | 12.23 | 17.6812
FA DS [FE] | smooth + detrend (2. order) + SNV - PLSR (10) | 0.77 | 14 | 12.85 | Dough | smooth + 1. deriv + normalization (1. norm) - PLSR (4) | 0.81 | 12 | 11.01 | 14.2857
FA FQN [-] | smooth + highpass + normalization (1. norm) - PCR (9) | 0.53 | 43 | 16.05 | Gluten + Dough | smooth + normalization (range) + autoscaling - PLSR (7) | 0.67 | 36 | 13.44 | 16.2791
EX Energy 45 min [cm²] | smooth + SNV + autoscaling - PCR (3) | 0.67 | 15 | 12.2 | Gluten + Flour | smooth + 2. deriv + SNV - PLSR (10) | 0.78 | 12 | 9.76 | 20
[5 empty] | Gluten + Dough | smooth + detrend (2. order) + normalization (range) - PCR (10) | 0.78 | 12 | 9.76 | 20
[5 empty] | < 32 μm + 50-75 μm + 75-100 μm + > 100 μm + Flour | smooth + 1. deriv + normalization (2. norm) - PLSR (10) | 0.78 | 12 | 9.76 | 20
EX Resistance 45 min [BU] | smooth + 2. deriv + SNV + autoscaling - PLSR (3) | 0.05 | 43 | 20.19 | Gluten + Flour | smooth + 2. deriv + normalization (range) - PLSR (10) | 0.34 | 36 | 16.91 | 16.2791
EX Extensibility 45 min [mm] | smooth + highpass + SNV + autoscaling - PCR (1) | 0.75 | 12 | 11.33 | Gluten + Flour | smooth + highpass + SNV - PCR (8) | 0.83 | 10 | 9.44 | 16.6667
EX Maximum 45 min [BU] | smooth + detrend (2. order) - PCR (7) | 0.35 | 58 | 16.48 | Gluten | smooth + 1. deriv. - PCR (9) | 0.48 | 52 | 14.78 | 10.3448
EX Ratio number 45 min [-] | smooth + detrend (2. order) + SNV - PCR (2) | 0.29 | 0.4 | 21.06
EX Ratio number (Max.) 45 min [-] | smooth + detrend (2. order) - PCR (8) | 0.07 | 0.5 | 23.82 | Gluten + Flour | smooth + 2. deriv + normalization (range) - PLSR (10) | 0.42 | 0.4 | 19.05 | 20
AL Cmax [-] | smooth + 1. deriv. + autoscaling - PLSR (10) | 0.81 | 190 | 9.96 | < 32 μm + > 100 μm + Flour | smooth + 2. deriv + SNV + autoscaling - PLSR (7) | 0.86 | 165 | 8.65 | 13.1579
AL P [mm H2O] | smooth + detrend (2. order) + normalization (range) - PCR (7) | 0.68 | 10 | 13.16 | 50-75 μm + 75-100 μm | smooth + highpass + SNV + autoscaling - PLSR (10) | 0.79 | 8 | 10.53 | 20
AL L [mm] | smooth + highpass + normalization (1. norm) + autoscaling - PCR (4) | 0.45 | 17 | 18.09 | Gluten + Flour | smooth + 1. deriv + normalization (1. norm) - PLSR (10) | 0.63 | 14 | 14.9 | 17.6471
AL G [-] | smooth + highpass + normalization (1. norm) + autoscaling - PCR (4) | 0.44 | 2 | 17.86 | Gluten + Flour | smooth + 1. deriv + normalization (1. norm) - PLSR (10) | 0.62 | 1.7 | 15.18 | 15
AL W [10E-4 J] | smooth + highpass + normalization (range) - PLSR (7) | 0.87 | 30 | 7.8 | Dough | smooth + 1. deriv. - PLSR (10) | 0.91 | 24 | 6.24 | 20
AL P/L [-] | smooth + autoscaling - PCR (3) | 0.28 | 0.38 | 15.71 | 50-75 μm | smooth + 1. deriv + normalization (1. norm) - PCR (6) | 0.46 | 0.33 | 13.64 | 13.1579
AL Ie [%] | smooth + detrend (2. order) + normalization (range) - PCR (8) | 0.75 | 2.9 | 8.96 | Gluten + Dough | smooth + detrend (2. order) + SNV - PLSR (10) | 0.85 | 2.3 | 7.1 | 20.6897
AL K [-] | smooth + detrend (2. order) + normalization (range) - PCR (8) | 0.78 | 350 | 12.71 | 50-75 μm | smooth + 1. deriv + SNV - PLSR (8) | 0.83 | 309 | 11.22 | 11.7143
AL SH [-] | smooth + detrend (2. order) + normalization (range) - PCR (8) | 0.44 | 0.07 | 14.59 | Gluten + Dough | smooth + highpass + normalization (1. norm) - PLSR (9) | 0.8 | 0.05 | 10.42 | 28.5714
AL Dmin [-] | smooth + 1. deriv + normalization (2. norm) - PCR (5) | 0.71 | 0.26 | 13.34 | 75-100 μm | smooth + 2. deriv - PLSR (9) | 0.79 | 0.23 | 11.8 | 11.5385
AL Dmax [-] | smooth + detrend (2. order) + normalization (range) - PCR (7) | 0.68 | 0.39 | 13.14 | 75-100 μm | smooth + highpass + normlization (2. norm) + autoscaling - PLSR (10) | 0.79 | 0.32 | 10.78 | 17.9487